309

Thermo-Hygrometer

1. Temperature measure range:

Indoor temperature measure range:

-50°C~+70°C (-58°F~+l58°F)

Outdoor temperature measure range:

-50°C~+70°C (-58°F~+l58°F)

2. Temperature resolution:0.1°C (0.2°F)

3. Temperature accuracy: ±1.0°C

5. Humidity measure range: 20%RH ~ 90%RH.

6. Humidity resolution: 1%

7. Humidity accuracy: ± 5%RH

8. Power: 1.5V (AAA battery)

9. Standard Quantity Per Carton: 100PCS

10. Carton Measurement : 58*34*29 cm

11. Carton Gross Weight: 15kgs