HP-101A-B11

Roller Probes

Model Number

HP-101B-B11

Maximum Temperature

250℃

Response Time

3"

Applications

For measuring wires, cables, coils.

Remarks

swivel head