HP-102A-T21

Roller Probes

Model Number

HP-102A-T21

Maximum Temperature

250℃

Response Time

3"

Applications

For measuring wires, cables, coils.

Remarks

straight head