HP-202A-T21

Magnetic Probes

Model Number

HP-202A-T21

Maximum Temperature

250℃

Response Time

2"

Applications

For measuring magnetic surfaces; such as: motors, driers, blast furnaces, transformers, heating elements. For measuring wires, cables, coils.

Remarks

straight head