HP-402A-B22

Surface Probes

Model Number

HP-402A-B22

Maximum Temperature

250℃

Response Time

3"

Applications

For measuring stationary surfaces; such as: molds, textiles, packages, prints, pc boards, papers, electronic elements.

Remarks

straight head