HP-402A-M13

Surface Probes

Model Number

HP-402A-M13

Maximum Temperature

400℃

Response Time

2"

Applications

For measuring stationary surfaces; such as: molds, textiles, packages, prints, pc boards, papers, electronic elements.

Remarks

straight head