HP-404A-T23

Surface Probes

Model Number

HP-404A-T23

Maximum Temperature

250℃

Response Time

2"

Applications

For measuring stationary surfaces; such as: molds, textiles, packages, prints, pc boards, papers, electronic elements.

Remarks

extra long head