HP-406A-M12

Surface Probes

Model Number

HP-406A-M12

Maximum Temperature

600℃

Response Time

3"

Applications

For measuring stationary surfaces; such as: molds, textiles, packages, prints, pc boards, papers, electronic elements.

Remarks

extra long head