HP-602A-M11

Air Probes

Model Number

HP-602A-M11

Maximum Temperature

600℃

Response Time

3"

Applications

For measuring air, gases, freezers, ovens, fans.

Remarks

Probe:∮8mm x L 138mm

Air Hole Tube:

∮10mm x L 48mm