HP-602C-M13

Surface Probes

Model Number

HP-602C-M13

Maximum Temperature

500℃

Response Time

2"

Applications

For measuring small surface areas; such as: integrated circuits, transistors, transformers.

Remarks

compact tip