HP-603B-C11

Surface Probes

Model Number

HP-603B-C11

Maximum Temperature

600℃

Response Time

2"

Applications

For measuring flat stationary surfaces; such as: molds, electronic elements, heating elements.

Remarks

coil sensor