HP-603B-C18

Surface Probes

Model Number

HP-603B-C18

Maximum Temperature

800℃

Response Time

3"

Applications

For measuring small surface areas; such as: integrated circuits, transistors, transformers.

Remarks

compact tip