HP-603C-T13

Surface Probes

Model Number

HP-603C-T13

Maximum Temperature

250℃

Response Time

2"

Applications

For measuring small surface areas; such as: integrated circuits, transistors, transformers.

Remarks

compact tip