T-48W  Thermometer Module with Outdoor Sensor

SPECIFICATION:

Measuring Range		:  -10 ~ +50˚C (+23˚F~+122˚F)

Resolution 			:  0.1

Accuracy			:  ±0.5˚C (0-40˚C),

±1˚C (the remainder range)

˚C or ˚F by option

Outdoor sensor with 3M cable for temperature

Unit Size 			:  52.2mm × 52.2mm × 17mm (W) x (H) x (T)

Panel Cut-Out Size	:  47.7mm x 47.7 mm x 12mm (W) x (H) x (T)

Battery				:  1.5V Vinnic L1154 x 1 or Equivalent (included)