TH-48MEX Thermo-Hygrometer Module (with Memory Function)

SPECIFICATION:

Temperature Range 	: -10 ~+ 50 °C (+14 ~+122 °F)

Resolution 			: 0.1

Accuracy 			: ± 0.5 °C (0-40 °C)

±1 °C (The remainder range)

Humidity Range		: 15- 95%

Resolution 			: 1%

± 3% (30 %-80 %),

± 5% (The remainder range)

Function Key 			: Memory. °C/°F

Memory function for humidity only

Panel Mounting

Unit Size 			: 52.2 mm × 52.2 mm × 17 mm (W) x (H) x (T)

Panel Cut-Out Size   	: 47.7 mm × 47.7 mm × 12 mm (W) x (H) x (T)

Battery            	: 1.5V VINNIC L1154 x 1 or Equivalent (included)

With memory function and combination probe