TH-812 Thermo-Hygrometer 溫濕度計

SPECIFICATION:

Measuring Range

Temperature			-10 ~50 °C (+14 ~ 122 °F)

Accuracy 		± 1°C

Humidity 			20 ~99 % RH

Accuracy 		± 3 % RH

Battery 			1 x 1.5 V AAA size

LCD Size			63 (L) x 78 (W) mm

Product Size			109 (L) x 98 (W) x 21 (T) mm

Function:

Display indoor temperature & humidity

Record maximum and minimum temperature and humidity

Selectable: °C or °F display

Max/Min memory function

Flip out stand and wall mount