TS-380C

INFRARED THERMOMETER

1. Back light and laser pointer on/off option

2. Auto power off

3. Low battery indication

4. Measuring range: -40℃~380℃

5. Auto data hold

6. Accuracy: ± 2℃

7. ℃/℉ selectable

8. Distance:Spot=8:1

9. Max,Min,Dif., Ave measurement