TS-60A

Ultrasonic Range Finder

Professional Electronic Measuring Tool

With Receiver And Target

Instant, convenient and accurate to 99.5%

at distances from 0.6m to 60m (max 75m)

2 WAYS TO MEASURE: RECEIVE ALONE TO 15M(MAX 18M).

Receiver to Target tom (max 75m)

Stores up to 5 measurements

For indoor or outdoor use

Can be field calibrated

RANGE WITHOUT TARGET:

Min: 1ft 11 ins(0.6m)

Max: 59ft(18m)

Typical: 1ft 11 ins to 49 ft(0.6m to 15m)

Actual: Will vary depending on environmental conditions

RANGE WITH TARGET:

Min: 3 ft 3 ins(1m)

Max: 246 ft(75m)

Typical: 3 ft 3ins to 197 ft(1m to 60m)

Actual: Will vary depending on environmental conditions

ACCURACY:

Single Unit Mode:99.5% (±1/4 in or ±1m)

Dual Unit Mode:99.5% (±1/2 in or ±1m)

These accuracies are possible when environmental conditions are as follows:

Temperature: 32 to 86℉ (0 to 30℃)

Relative Humidity: 30 to 70%

Altitude: -328 ft to +328 ft(-0.1 to 0.1km)

Wind Speed: Still Air