TS8901

GENERAL FEATURE & SPECIFICATION

Measuring Range :0-45℃

Wind Speed measuring Range :0.3-45m/s

Accuracy of temperature: ±2℃

Accuracy of Wind speed:±3%±1dgts

Wind Speed unit selection: m/s,ft/min,knots,km/hr,Mph

Resolution:0.1m/s 0.2℃

Auto/Manual power off

Air Velocity/Air Flow selection

Back light Display

Max/Min wind speed measuring

Average and current wind speed

℃/℉ selection

Data hold function

Size: 145*71*29mm