TS8908

GENERAL FEATURE & SPECIFICATION

Measuring Range :-10-45℃

Wind Speed measuring Range :0.3-30m/s

Accuracy of temperature: ±2℃

Accuracy of Wind speed:±5%

Wind Speed unit selection: m/s,ft/min,knots,km/hr,Mph

Resolution:0.1m/s 0.2℃

Auto/Manual power off

Max/Min wind speed measuring

Average and current wind speed

Size:105*55*20mm